Model Act for Establishing State Water Efficiency Standards

for Certain Products

Prepared by the

Appliance Standards Awareness Project, Boston, MA

American Council for an Energy-Efficient Economy, Washington, DC

The Alliance for Water Efficiency, Chicago, IL

Updated November 2023

This model act sets specific, up-to-date efficiency standards for selected residential and commercial products. These water efficiency standards are based on WaterSense specifications already adopted in one or more states and that have achieved high market shares. For questions regarding this model act contact Brian Fadie (bfadie@standardsASAP.org) at the Appliance Standards Awareness Project or Andrew Morris (andrew@a4we.org) at the Alliance for Water Efficiency.

An Act Establishing Minimum Water Efficiency Standards for

Certain Products Sold in the State

- Section 1.  General Purpose.

  - This Act establishes minimum efficiency standards for certain products sold or installed in the state.

- Section 2.  Findings.

  - The legislature finds that:

    - Water efficiency standards for certain products sold or installed in the state assure consumers and businesses that such products meet minimum water efficiency performance levels, thus reducing water waste and saving consumers and businesses money on utility bills.

    - Such efficiency standards save water, mitigating the effects of short- and long-term droughts and helping to conserve fresh water supplies.

    - Utility bill savings resulting from more-efficient products benefit all consumers but are especially important to low-income families, who spend a disproportionate share of their income on utilities. Efficiency standards also help the state and local economies because utility bill savings can be spent on local goods and services.

- Section 3.  Definitions.

  - As used in the Act:

    - “Automatic irrigation controller” means a device used to remotely control valves that operate a landscape irrigation system. Such devices include, but are not limited to, weather-based irrigation controllers, soil moisture-based irrigation controllers, and timer-based irrigation controllers, whether configured as a standalone controller, a base controller, an add-on device, or a plug-in device.  “Automatic irrigation controller” does not include irrigation control devices designed for attachment to a hose bib or a hose end or those designed and marketed for agricultural purposes.

    - “Commissioner” means the [The head of appropriate implementing agency].

    - The following definitions refer to faucets:

      - “Faucet” means a private lavatory faucet, residential kitchen faucet, metering faucet, public lavatory faucet, or replacement aerator for a private lavatory, public lavatory or residential kitchen faucet.

      - “Public lavatory faucet” means a fitting designed to be installed in nonresidential bathrooms that are exposed to walk-in traffic.

      - “Metering faucet” means a fitting that, when turned on, will gradually shut itself off over a period of several seconds.

      - “Replacement aerator” means an aerator sold as a replacement, separate from the faucet to which it is intended to be attached.

    - The following definitions refer to showerheads:

      - “Showerhead” means a device through which water is discharged for a shower bath and includes a hand-held showerhead but does not include a safety shower showerhead.

      - “Hand-held showerhead” means a showerhead that can be held or fixed in place for the purpose of spraying water onto a bather and that is connected to a flexible hose.

    - The following definitions refer to spray sprinkler bodies:

      - “Pressure regulator” means a device that maintains constant operating pressure immediately downstream from the device, given higher pressure upstream.

      - “Spray sprinkler body” means the exterior case or shell of a sprinkler incorporating a means of connection to the piping system designed to convey water to a nozzle or orifice.

    - The following definitions refer to urinals and water closets:

      - “Plumbing fixture” means an exchangeable device, which connects to a plumbing system to deliver and drain away water and waste.

      - “Urinal” means a plumbing fixture that receives only liquid body waste and conveys the waste through a trap into a drainage system.

      - “Water closet” means a plumbing fixture having a water-containing receptor that receives liquid and solid body waste through an exposed integral trap into a drainage system.

      - “Trough-type urinal” means a urinal designed for simultaneous use by two or more persons.

- Section 4.  Scope.

  - The provisions of this Act apply to:

    - Automatic irrigation controller

    - Faucets;

    - Showerheads;

    - Spray sprinkler bodies;

    - Urinals;

    - Water closets;

    - Any other products as may be designated by the Commissioner in accordance with Section 7 or by operation of law under Section 9.

  - The provisions of this Act do not apply to:

    - New products manufactured in the state and sold outside the state;

    - New products manufactured outside the state and sold at wholesale inside the state for final retail sale and installation outside the state;

    - Products installed in mobile manufactured homes at the time of construction; or

    - Products designed expressly for installation and use in recreational vehicles.

### Section 5.  Standards.

  - Not later than one year after the date of enactment of this Act, the Commissioner, in consultation with [heads of other appropriate agencies], may adopt regulations, in accordance with the [state law governing the administrative process for setting regulations], establishing minimum efficiency standards for the products listed or incorporated in Section 4.

  - The regulations shall provide for the following minimum efficiency standards:

    - Automatic irrigation controllers shall meet the water efficiency and performance criteria included within the WaterSense Specification for Weather-Based Irrigation Controllers, Version 1.1 or the WaterSense Specification for Soil Moisture-Based Irrigation Controllers, Version 1.0.

    - Faucets, except for metering faucets, shall meet the standards shown in this paragraph when tested in accordance with Appendix S to Subpart B of Part 430 of Title 10 of the Code of Federal Regulations —“Uniform Test Method for Measuring the Water Consumption of Faucets and Showerheads”— and compliance with those requirements shall be:

      - Lavatory faucets and replacement aerators shall not exceed a maximum flow rate of 1.5 gallons per minute at 60 pounds per square inch.

      - Residential kitchen faucets and replacement aerators shall not exceed a maximum flow rate of 1.8 gallons per minute at 60 pounds per square inch, with optional temporary flow of 2.2 gallons per minute, provided they default to a maximum flow rate of 1.8 gallons per minute at 60 pounds per square inch after each use.

      - Public lavatory faucets and replacement aerators shall not exceed a maximum flow rate of 0.5 gallons per minute at 60 pounds per square inch.

    - Showerheads shall not exceed a maximum flow rate of 2.0 gallons per minute at 80 pounds per square inch when tested in accordance with Appendix S to Subpart B of Part 430 of Title 10 of the Code of Federal Regulations —“Uniform Test Method for Measuring the Water Consumption of Faucets and Showerheads.”

    - Spray sprinkler bodies that are not specifically excluded from the scope of the WaterSense Specification for Spray Sprinkler Bodies, Version 1.0, shall include an integral pressure regulator and shall meet the water efficiency and performance criteria and other requirements of that specification.

    - Urinals and water closets, other than those designed and marketed exclusively for use at prisons or mental health facilities, shall meet the standards shown in subparagraphs (1) to (4) when tested in accordance with Appendix T to Subpart B of Part 430 of Title 10 of the Code of Federal Regulations—“Uniform Test Method for Measuring the Water Consumption of Water Closets and Urinals”— and water closets shall pass the waste extraction test for water closets (Section 7.9) of the American Society of Mechanical Engineers (ASME) A112.19.2/CSA B45.1-2018.

        - Wall-mounted urinals, except for trough-type urinals, shall have a maximum flush volume of 0.5 gallons per flush.

        - Floor-mounted urinals, except for trough-type urinals, shall have a maximum flush volume of 0.5 gallons per flush.

        - Water closets shall have a maximum flush volume of 1.28 gallons per flush.

### Section 6.   Implementation.

  - On or after January 1, 2026, no new automatic irrigation controller, faucet, showerhead, spray sprinkler body, urinal, or water closet may be sold or offered for sale, lease, or rent in the state unless the new product meets the requirements of the standards provided in Section 5.

  - One year after the date upon which the sale or offering for sale of certain products becomes subject to the requirements of paragraph (a) of this section, no such products may be installed for compensation in the state unless the efficiency of the new product meets or exceeds the efficiency standards provided in Section 5.

### Section 7.  New and Revised Standards.

The Commissioner may adopt regulations, in accordance with the provisions of Chapter [number of section in state law dealing with setting regulations], to establish increased efficiency standards for the products listed or incorporated in Section 4. The Commissioner may also establish standards for products not specifically listed in Section 4. In considering such new or amended standards, the Commissioner, in consultation with the [heads of other appropriate departments], shall set efficiency standards upon a determination that increased efficiency standards would serve to promote water conservation in the state and would be cost effective for consumers who purchase and use such new products, provided that no new or increased efficiency standards shall become effective within one year following the adoption of any amended regulations establishing such increased efficiency standards.

- Section 8.  Testing, Certification, Labeling, and Enforcement.

  - The manufacturers of products covered by this Act shall test samples of their products in accordance with the test procedures adopted pursuant to this Act. The Commissioner may adopt updated test methods when new versions of test procedures become available.

  - Manufacturers of new products covered by Section 4 of this Act shall certify to the Commissioner that such products are in compliance with the provisions of this Act. Such certifications shall be based on test results. The Commissioner shall promulgate regulations governing the certification of such products and shall coordinate with the certification programs of other states and federal agencies with similar standards.

  - Manufacturers of new products covered by Section 4 of this Act shall identify each product offered for sale or installation in the state as in compliance with the provisions of this Act by means of a mark, label, or tag on the product and packaging at the time of sale or installation. The Commissioner shall promulgate regulations governing the identification of such products and packaging, which shall be coordinated to the greatest practical extent with the labeling programs of other states and federal agencies with equivalent efficiency standards. The Commissioner shall allow the use of existing marks, labels, or tags, which connote compliance with the efficiency requirements of this Act.

  - The Commissioner may test products covered by Section 4. If products so tested are found not to be in compliance with the minimum efficiency standards established under Section 5, the Commissioner shall: (1) charge the manufacturer of such product for the cost of product purchase and testing, and (2) make information available to the Attorney General and the public on products found not to be in compliance with the standards.

  - The Commissioner may cause periodic inspections to be made of distributors or retailers of new products covered by Section 4 in order to determine compliance with the provisions of this Act. The Commissioner shall investigate complaints received concerning violations of this Act.

  - If the Commissioner finds that any person has committed a violation of any provision of this Act, the Commissioner shall issue a warning to such person. Any person who commits a violation after the issuance of such warning shall be subject to a civil penalty, issued by the Commissioner, of up to one hundred dollars for each offense. Any further violations committed by such person after this second violation shall be subject to a civil penalty of not more than five hundred dollars for each offense. Each product offered, sold, or distributed in violation of Section 6 of this Act shall constitute a separate violation, each violation shall constitute a separate offense, and each day that such violation occurs shall constitute a separate offense. Penalties assessed under this paragraph are in addition to costs assessed under paragraph (d) of this section.

  - If the Commissioner finds repeated violations have occurred, they shall report the results of such violations to the Attorney General. The Attorney General may institute proceedings to seek an injunction in state court to enforce the provisions of this Act.

  - The Commissioner may adopt such further regulations as necessary to ensure the proper implementation and enforcement of the provisions of this Act.

9) Section 9.  Severability of Provisions.

  - The provisions of this Act shall be severable, and if the application of any clause, sentence, paragraph, subdivision, section, or part of this Act shall be adjudged by any court of competent jurisdiction to be invalid, such judgment shall not affect, impair, or invalidate the application of any other clause, sentence, paragraph, subdivision, section, or part of this Act.

# Comments

Note: Some states have adopted more stringent standards for private lavatory faucets at 1.2 gpm including California, Hawaii, Oregon, Washington, Maine, and New York.

Note: Some states have adopted more stringent standards for showerheads at 1.8 gpm including California, Hawaii, Oregon, Washington, Maine, and New York.

Note: Some states have adopted more stringent standards for urinals including California, Washington, Maine, and New York. Contact ASAP’s Brian Fadie for more info. bfadie@standardsasap.org

This gives an extra year for plumbers and other installers to work through any remaining non-compliant inventory.

Two decision points: 1) could make the label required either on the product or packaging but not both, 2) could allow the listing of a product in an online database approved by the Commissioner (or just written into the bill) to satisfy the labeling requirement. Example: the WaterSense certified products database.

Note: To our knowledge no state besides California actually utilizes this potential authority. It’s included as a recommendation, but is not essential.