2026 State Clean Lighting Policy – Recommended Language

The following recommended clean lighting policy language is based on laws enacted in 10 states: California (AB 2208), Colorado (HB 23-1161), Hawaii (HB 192), Maine (LD 1814), Oregon (HB 2531), Rhode Island (H.5550), Washington (HB 1185), Minnesota (HF 3326), Illinois (HB 2363), and Vermont (H.500). For questions, please contact Brian Fadie or Brooke Lockwood of Appliance Standards Awareness Project at bfadie@standardsasap.org or blockwood@standardsasap.org 
Section 1. Findings
The legislature finds that:
(a) Mercury is a persistent and toxic pollutant that bioaccumulates in the environment and poses a serious threat to humans, particularly young children, and wildlife.
(b) Human exposure to mercury can result in nervous system, kidney, and liver damage and impaired childhood development.

(c) All fluorescent lamps contain mercury and can create an immediate public health and environmental hazard when they accidentally break during installation, use, transportation, storage, recycling, or disposal. 
(d) Light-emitting diode (LED) replacements for fluorescent lamps do not contain mercury. 

(e) LED replacements for fluorescent lamps are widely available for the range of fluorescent lamps used to light businesses and homes and last two to three times longer.

Section 2. Definitions

For the purposes of this Act, the following definitions apply.

(a) “Compact fluorescent lamp” means a compact low-pressure, mercury-containing, electric-discharge light source in which a fluorescent coating transforms some of the ultraviolet energy generated by the mercury discharge into visible light, and includes all of the following characteristics:

(1) One base (end cap) of any type, including, but not limited to, screw, bayonet, two pins, and four pins.

(2) Integrally ballasted or non-integrally ballasted.

(3) Light emission between a correlated color temperature of 1700K and 24000K and a Duv of +0.024 and -0.024 in the International Commission on Illumination (CIE) Uniform Color Space (CAM02-UCS).

(4) All tube diameters and all tube lengths.

(5) All lamp sizes and shapes for directional and nondirectional installations, including, but not limited to, PL, spiral, twin tube, triple twin, 2D, U-bend, and circular.

(b) “Linear fluorescent lamp” means a low-pressure, mercury-containing, electric-discharge light source in which a fluorescent coating transforms some of the ultraviolet energy generated by the mercury discharge into visible light, and includes all of the following characteristics:

(1) Two bases (end caps) of any type, including, but not limited to, single-pin, two-pin, and recessed double contact.

(2) Light emission between a correlated color temperature of 1700K and 24000K and a Duv of +0.024 and -0.024 in the CIE CAM02-UCS.

(3) All tube diameters, including, but not limited to, T5, T8, T10, and T12.

(4) All tube lengths from 0.5 to 8.0 feet, inclusive.

(5) All lamp shapes, including, but not limited to, linear, U-bend, and circular.

Section 3. Standard

(a) On and after January 1, 2027, it shall be a violation of this Act to offer for final sale, sell at final sale, or distribute in this state as a new manufactured product a screw or bayonet base type compact fluorescent lamp.
(b) On and after January 1, 2028, it shall be a violation of this Act to offer for final sale, sell at final sale, or distribute in this state as a new manufactured product a pin-base type compact fluorescent lamp or a linear fluorescent lamp.
Section 4. Exemptions

This Act does not apply to the following:

(a) A lamp designed and marketed exclusively for image capture and projection, including:

(1)
photocopying;

(2)
printing, directly or in preprocessing;

(3)
lithography;

(4)
film and (should this be “or” so that either condition satisfies?) video projection; and 

(5)
holography.
(b) A lamp that has a high proportion of ultraviolet light emission and is one of the following:

(1) A lamp with high ultraviolet content that has ultraviolet power greater than two milliwatts per kilolumen (mW/klm).

(2) A lamp for germicidal use, such as the destruction of DNA, that emits a peak radiation of approximately 253.7 nanometers.

(3) A lamp designed and marketed exclusively for disinfection or fly trapping from which either the radiation power emitted between 250 and 315 nanometers represents at least 5 percent of, or the radiation power emitted between 315 and 400 nanometers represents at least 20 percent of, the total radiation power emitted between 250 and 800 nanometers.

(4) A lamp designed and marketed exclusively for the generation of ozone where the primary purpose is to emit radiation at approximately 185.1 nanometers.

(5) A lamp designed and marketed exclusively for coral zooxanthellae symbiosis from which the radiation power emitted between 400 and 480 nanometers represents at least 40 percent of the total radiation power emitted between 250 and 800 nanometers.

(6) Any lamp designed and marketed exclusively for use in a sunlamp product, as defined in section 1040.20(b)(9) of subchapter J of title 21 of the Code of Federal Regulations, as in effect on the date of enactment of this Act.
(c) A lamp designed and marketed exclusively for use in medical or veterinary diagnosis or treatment, or in a medical device.

(d) A lamp designed and marketed exclusively for use in the manufacturing or quality control of pharmaceutical products.
(e) A lamp designed and marketed exclusively for spectroscopy and photometric applications, such as UV-visible spectroscopy, molecular spectroscopy, atomic absorption spectroscopy, nondispersive infrared (NDIR), Fourier transform infrared (FTIR), medical analysis, ellipsometry, layer thickness measurement, process monitoring, or environmental monitoring.

(f) A lamp designed and marketed exclusively for use by academic and research institutions for conducting research projects and experiments.
(g) A compact fluorescent lamp that is used to replace a lamp in a motor vehicle that was manufactured on or before January 1, 2020.
Section 5. Implementation
(a) The [implementing agency] may cause periodic inspections to be made of distributors or retailers in order to determine compliance with the provisions of this Act. The [implementing agency] shall investigate complaints received concerning violations of this Act. 
(b) If the [implementing agency] finds that any person has committed a violation of any provision of this Act, the [implementing agency] shall issue a warning to such person. Any person who commits a violation after the issuance of such warning shall be subject to a civil penalty, issued by the [implementing agency], of up to one hundred dollars for each offense. Any further violations committed by such person after this second violation shall be subject to a civil penalty of not more than five hundred dollars for each offense. Each lamp offered, sold, or distributed in violation of Section 3 of this Act shall constitute a separate violation, each violation shall constitute a separate offense, and each day that such violation occurs shall constitute a separate offense.
(c) If the [implementing agency] finds repeated violations have occurred, it shall report the results of such violations to the Attorney General. The Attorney General may institute proceedings to seek an injunction in state court to enforce the provisions of this Act.
(d) The [implementing agency] may adopt such further regulations as necessary to ensure the proper implementation and enforcement of the provisions of this Act. 
Section 6.  Severability of Provisions

(a) The provisions of this Act shall be severable, and if the application of any clause, sentence, paragraph, subdivision, section, or part of this Act shall be adjudged by any court of competent jurisdiction to be invalid, such judgment shall not affect, impair, or invalidate the application of any other clause, sentence, paragraph, subdivision, section, or part of this Act.

3

